## FixtureStandards
LEGEND | WaterSense Max Flow (Blue) | National Standard Max Flow (Green) | California Max Flow (Yellow) | Other Max Flow (Gray)
Entity | Toilets* | Showerheads | Urinals | Residential Lavatory Faucets** | Residential Kitchen Faucets | Requires WaterSense Sprinkler Spray Bodies | State Law (With Links) | Year Passed / Took Effect | Implementation Method | Standard Referenced | Notes
National | 1.6 gpf | 2.5 gpm | 1.0 gpf | 2.2 gpm | 2.2 gpm | N/A | Code of Federal Regulations | 1992 / 1994 | Federal Code | N/A
WaterSense | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | No WaterSense Specification | WaterSense Specification | WaterSense Specifications | Program Launched in 2006 | Voluntary Program (unless required by state / locals)
California | 1.28 gpf | 1.8 gpm | 0.125 gpf | 1.2 gpm | 1.8 gpm (2.2 boost) | Yes | CA Title 20, section 1605.3 | 2015 / 2016 | Statewide Point-of-Sale Requirement | Max Flow Rate; Spray Sprinkler Body requirements aligned with WaterSense | Spray sprinkler bodies added through standard passed in 2019 and effective 2020
2019 / 2020
Colorado | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | 1.8 gpm (2.2 boost) | Yes | SB 14-103 | 2014 / 2016 | Statewide Point-of-Sale Requirement | WaterSense | Spray sprinkler bodies added through standard passed in 2019 and effective 2021
[7 empty] | HB 19-1231 | 2019 / 2021
District of Columbia | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | 1.8 gpm (2.2 boost) | Yes | D.C ACT 23-539 | 2020 / 2022 | Districtwide Point-of-Sale Requirement | Max Flow Rate (except spray sprinkler bodies, which reference WaterSense)
Georgia | 1.28 gpf | 2.5 gpm | 0.5 gpf | 1.5 gpm | 2.0 gpm | No | SB 370 | 2010 / 2012 | Statewide Point-of-Sale Requirement for Toilets; Otherwise Plumbing Code | Both (WaterSense & Max Flow Rate)
Hawaii | 1.6 gpf | 1.8 gpm | 1.0 gpf | 1.2 gpm | 1.8 gpm (2.2 boost) | Yes | HB 556 | 2019 / 2021 | Statewide Point-of-Sale Requirement | California Code (except spray sprinkler bodies, which reference WaterSense)
Illinois (Lake Michigan Permitees only) | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | 2.2 gpm | No | Title 17 | 2014 | State rule requires local ordinances for new and replacement fixtures | WaterSense | Only pertains to Lake Michigan Basin
Maine | 1.28 gpf | 1.8 gpm | 0.125 gpf | 1.2 gpm | 1.8 gpm (2.2 boost) | Yes | LD 940 | 2021 / 2023 | Statewide Point-of-Sale Requirement | California Code (except spray sprinkler bodies, which reference WaterSense)
Maryland | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | 1.8 gpm (2.2 boost) | Yes | SB 494 | 2022 / 2024 | Statewide Point-of-Sale Requirement | Max Flow Rate (except spray sprinkler bodies, which reference WaterSense)
Massachusetts | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | 1.8 gpm (2.2 boost) | Yes | SB 9 | 2021 / 2022 | Statewide Point-of-Sale Requirement | Max Flow Rate (except spray sprinkler bodies, which reference WaterSense)
Nevada | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | 2.2 gpm | No | NRS 278.582 | 2019 / 2020 | Plumbing Code and Local Point-of-Sale Requirement | WaterSense | Plumbing code does not apply buildings over 50 years old
New Jersey | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | 1.8 gpm (2.2 boost) | Yes | No. 5160 | 2021 / 2022 | Statewide Point-of-Sale Requirement | Max Flow Rate (except spray sprinkler bodies, which reference WaterSense)
New York | 1.28 gpf | 1.8 gpm | 0.125 gpf | 1.2 gpm | 2.2 gpm | Yes | A2286 | 2019 / 2022 | Statewide Point-of-Sale Requirement | Toilets - Both (WaterSense & Max Flow Rate); Others - California Code | 2022 rulemaking changed standard to reference California Code and associated efficiency leves for showerheads, urinals, and faucets; added spray sprinkler bodies
[7 empty] | NY Rules and Regs, Title 21, Sec. 509 | 2022 / 2023
Oregon | 1.6 gpf | 1.8 gpm | 1.0 gpf | 1.2 gpm | 1.8 gpm (2.2 boost) | Yes | House Bill 2062 | 2021 / 2022 | Statewide Point-of-Sale Requirement | California Code (except spray sprinkler bodies, which reference WaterSense) | House Bill 4057, which passed in 2022, added the requirement for WaterSense Spray Sprinkler Bodies
[7 empty] | House Bill 4057 | 2022/2022
Rhode Island | 1.28 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | 1.8 gpm (2.2 boost) | Yes | House Bill 5966 | 2021 / 2023 | Statewide Point-of-Sale Requirement | Max Flow Rate (except spray sprinkler bodies, which reference WaterSense)
Texas | 1.28 gpf | 2.5 gpm | 0.5 gpf | 2.2 gpm | 2.2 gpm | No | Title 30 | 2009 / 2014 | Statewide Point-of-Sale Requirement | Max Flow Rate
Vermont | 1.6 gpf | 2.0 gpm | 0.5 gpf | 1.5 gpm | 1.8 gpm (2.2 boost) | Yes | Title 9 Chapter 074 | 2018 / 2020 | Statewide Point-of-Sale Requirement | Max Flow Rate (except spray sprinkler bodies, which reference WaterSense)
Washington | 1.28 gpf | 1.8 gpm | 0.125 gpf | 1.2 gpm | 1.8 gpm (2.2 boost) | Yes | RCW 19.260.040 | 2019 / 2021 | Statewide Point-of-Sale Requirement | California Code
*WaterSense has two different specifications for toilets, one for residential tank-type toilets and the other is for commercial flush valve toilets. However, all states currently have the same standard for both toilet types
**Residential lavatory faucets are also referred to as private lavatory faucets; public lavatory faucets are not addressed in this matrix because the standard in all states is 0.5 gpm